## Slide 1: Injector Refurb Program
Complete Rebuild of Injectors.

## Slide 2: Assessment
Injectors go through a
5 point test
  Injection rate
  Temperature
  Clog/Leak check
  Nupro function
  Piezo function/Calibration

## Slide 3: Tear Down
Injectors are “torn down”
into individual parts,
Inspected, then fixed
or replaced.

## Slide 4: Rebuild and Test
Injectors are then rebuilt
and tested.

## Slide 5: Clean and Ship
Once an Injector passes
Our 5 point inspection it is
cleaned and given a
certification sticker with a
calibration due by date.